## Slide 1
EE-463 Static Power Conversion – 1
Term Project Feedback Session
Civan Serhat Çevik
Yusuf Toprak Yıldıran
Batuhan Elmas

## Slide 2: Outline
1- Topology Selection
2- Simulation Results
3- Component Selection

## Slide 3: 1- Topology Selection
Three Phase Full Bridge Diode Rectifier
  High Average Output Voltage
  Relatively Lower Ripple Voltage
  Elimination of Third Multiple of Harmonics
Buck Converter
  Efficiency
  Simple to Implement
  Low Side Switching

## Slide 4: 2- Simulations

## Slide 5: 2- Simulations
Ideal diodes and switch , D=0.8
Rated motor conditions
Modelling DC motor parameters:
Armature + Interpole
Back EMF
Armature + Interpole

## Slide 6: 2- Simulations
Buck Converter Switching Frequency
Expected Output Current:
Desired Current Ripple: 3%

## Slide 7: 2- Simulations
a) Rectifier Diodes Voltage - Vmax=300V

## Slide 8: 2- Simulations
a) Rectifier Diodes Current - Imax=26A

## Slide 9: 2- Simulations
b) Buck Converter Switch Voltage- Vmax=300V

## Slide 10: 2- Simulations
b) Buck Converter Switch Current- Imax=25A

## Slide 11: 2- Simulations
c) Buck Converter Freewheeling Diode Voltage - Vmax=300V

## Slide 12: 2- Simulations
c) Buck Converter Freewheeling Diode Current- Imax=23A

## Slide 13: 3- Component Selection
a) Rectifier Diodes - GUO4012NO1
Single module rectifier
Simple to implement-THT
Cooling is more important!

## Slide 14: 3- Component Selection
b) Rectifier DC-Link Capacitor
Electrolytic Capacitor
400 V – 47 µF
Parallel Connection, Lower ESR

## Slide 15: 3- Component Selection
c) Buck Converter Switch - IXGH30N60C2
High voltage ratings
Switching frequency is not very high (3kHz)
IGBT is suitable

## Slide 16: 3- Component Selection
d) Buck Converter Freewheeling Diode - DSEI3006A
Fast Recovery, suitable for our frequency range
Can withstand the values up to 37A and 600V

## Slide 17: 3- Component Selection
e) Gate Driver
Timer IC: TL494, Astable operation,
Internal 5V Reference Voltage
Optocoupler for isolation: TLP250